{"text_format":"1","workbook":"xlsx","n_sheets":33,"sheets":["Cover","Appl Details","TR Exempt","Ref Docs","Ld Data","PS Data","CP Ld","CP Ld&Gen","CP Gen","Gen-Synch Dx","Gen-Ind Dx","WTG Dx","Inverter Dx","Protection Dx template","Cable","Transmission Line","Settings","Inverter","Recip Engines","Combined Cycle","WTG","Hydro","GT","ST","Governor","Exc_plain","Exc_Sync","Gen-Synch","Protection Settings","Protection","Transformer","Ind Machine","HVDC"],"not_rendered":{"charts":0,"images":3,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Cover","index":0,"n_rows":96,"n_cols":21,"rows_kept":96,"cut":false,"hidden":false,"merged":[[1,1,1,13]]}
[]
[null,"Western Power  Loads and Generator Application Form"]
[null,"Office use:","Template","EDM# 32872974",null,"Revision: 9"]
[null,null,"App","EDM# ",null,"Revision: "]
[]
[null,"Note:","Please ensure that you use the latest form from the Western Power website to complete your application."]
[null,null,"This form should be saved as a .XLSM file to ensure that all macros work correctly."]
[]
[]
[null,"Is this a load connection or generator connection?"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"How many different types of motors between 1 MW and 5 MW?"]
[]
[]
[null,"How many different types of motors above 5 MW?"]
[]
[]
[null,"How many different types of transformers?"]
[]
[]
[null,"How many types/sizes of synchronous generators will be installed?"]
[]
[]
[null,"How many types/sizes of asynchronous generators will be installed?"]
[]
[]
[null,"Please indicate how many types of each prime mover will be installed?",null,null,null,null,null,null,null,null,"Steam turbine",null,"Gas turbine",null,"Hydro turbine",null,"Wind turbine",null,"Combined cycle",null,"Reciprocating engines"]
[]
[]
[]
[]
[]
[null,"How many types of inverters will be installed?"]
[]
[]
[null,"How many different types of dynamic control systems are included"]
[null,"(e.g. 1 for each excitation system, 1 for each governor control system)?"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"Instructions",null,null,null,null,null,null,null,null,null,null,null,null,null,"Note"]
[null,"1. Select the options that apply to your application and click submit when all the required parameters have been entered.",null,null,null,null,null,null,null,null,null,null,null,null,null,"lThis form applies to all Transmission  Loads and Generator Applications, and Distribution "]
[null,"2. Complete data on all tabs generated in this application as required.",null,null,null,null,null,null,null,null,null,null,null,null,null,"Generators Applications for generator sizes between 30 kVA and 10 MW only."]
[null,"3. The form can be reset to start all over by clicking the reset button, note that this will wipe out all data entered.",null,null,null,null,null,null,null,null,null,null,null,null,null,"lThis form should not be used for Solar PV applications for systems up to 150 kVA in size. "]
[null,"4. Once the form is submitted, an 'Add Equipment' button  to add additional plant data into the same application form ",null,null,null,null,null,null,null,null,null,null,null,null,null,"lThis form replaces the old ‘Transmission Load application form’, ‘Transmission Generator"]
[null,"will become available, when Add Equipment button is selected, new data text fields will be appended to enter additional",null,null,null,null,null,null,null,null,null,null,null,null,null,"application  form’, and  ‘Distribution Generator application form’."]
[null,"data, this will generate additional tabs to enter data for additional plant.",null,null,null,null,null,null,null,null,null,null,null,null,null,"lNote that data catagories S, D, R1, R2 are defined in Technical Rules Attachment 3."]
[null,"4. The form can be saved on your local drive, ensure that you save it as at .xlsm file so that all macros are retained. ",null,null,null,null,null,null,null,null,null,null,null,null,null,"lWhere there are multiple items of the same plant (e.g. multiple generators of the same type, a"]
[null,"5. If issues are encountered with the Macro, all sheets can be unhidden and data entered. Your Western Power Access",null,null,null,null,null,null,null,null,null,null,null,null,null,"single sheet may be used. If post-commissioning R2 data for units of the same type then individual "]
[null,"Consultant can assist with nominating those forms that are required for completion.",null,null,null,null,null,null,null,null,null,null,null,null,null,"sheets for each unit can be created at that time."]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"lAny queries or feedback on the form please contact: system.analysis@westernpower.com.au"]
[]
[]
[null,"Western Power review of access application data",null,null,null,null,null,null,null,null,null,null,null,null,null,"Disclaimer"]
[null,"lWestern Power uses the following color coding to assist with the review and finalisation of access application data:",null,null,null,null,null,null,null,null,null,null,null,null,null,"lWestern Power accepts and bears no risk or responsibility (including responsibility by reason"]
[null,null,"Data not provided / no supporting evidence (non-critical, not-required, or to be provided later)",null,null,null,null,null,null,null,null,null,null,null,null,"of its negligence) for any loss or damage suffered by any party that is caused, contributed to,"]
[null,null,"Data not provided / no supporting evidence (critical for Western Power's assessment)",null,null,null,null,null,null,null,null,null,null,null,null,"by, or in connection with the use of this document or any other document which refers to this "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"document. Any use of this document or information it containts is at the sole risk of the user."]

{"sheet":"Appl Details","index":1,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":true,"merged":[[18,0,18,5],[26,0,27,0],[1,1,1,5],[9,0,11,0],[14,0,14,5],[15,0,15,5],[16,0,16,5],[17,0,17,5],[2,4,2,5],[2,1,3,1],[2,2,3,2],[2,0,3,0]]}
[]
["Applicant details","Date Submitted:"]
["-","Applicant","Agent acting for Applicant","Load Applications","Generator Applications"]
[null,null,null,"Retailer ","Market Participant ","Power Station Controller (if not Applicant)"]
["Company Name"]
["ABN of ACN"]
["Telephone"]
["Fax"]
["Mobile"]
["Address"]
[]
[]
["E-mail"]
["Existing Access Contract Details"]
["Access offer special requirements"]
["If yes, please provide details of any conditions precedent or variations from the Electricity Transfer Access Contract you may seek, if applicable."]
[]
["Is this Application related to a tender process? If so, please provide details. "]

{"sheet":"TR Exempt","index":2,"n_rows":10,"n_cols":9,"rows_kept":10,"cut":false,"hidden":true,"merged":[[2,0,3,0],[2,1,3,1],[9,0,10,0],[9,1,10,1]]}
[]
["Techical Rules Exemptions","Date Submitted:",null,null,null,null,null,null,"Yes"]
["Techical Rules General Exemptions","Yes/No",null,null,null,null,null,null,"No"]
[]
["Exemption from Clause 3.6.7.2(a) to the effect that alternative arrangements comprising of clearly labelled multiple main switches will be accepted, provided that response to faults on the network or on the User's installation is not adversely affected by this change. https://www.westernpower.com.au/media/4812/technical-rules-general-conditional-exemption-notification-main-switch-requirement-20210310.pdf"]
["The applicant requests exemption from Clause 3.6.10.1(a) to the effect that the protection relay need not be located at the connection point provided that the site satisfies the conditions for exemption. Additional evidence of compliance to conditions of exemption may be required to be presented to Western Power upon request. https://www.westernpower.com.au/media/4810/technical-rules-general-conditional-exemption-notification-protection-requirement-20210310.pdf"]
["Exemption from Clause 3.6.10.1(d) to the effect that one IEC 60255 compliant external protection device in conjunction with AS4777 compliant inverters will be acceptable with respect to the duplication of protection. https://www.westernpower.com.au/media/4810/technical-rules-general-conditional-exemption-notification-protection-requirement-20210310.pdf                                                                                          "]
["Exemption from Clause 3.6.10.1(g) to the effect of not requiring NVD earth fault protection on the HV distribution system for an LV point of supply. This exemption assumes that the external protection relay is IEC60255 compliant, has rate of change of frequency (RoCoF) protection with a setting of 4 Hz/sec and a sampling rate of 4 cycles, and is complemented by the use of inverters that comply with AS4777 and IEC 62116. https://www.westernpower.com.au/media/4810/technical-rules-general-conditional-exemption-notification-protection-requirement-20210310.pdf"]
[]
["Other Techical Rules Exemption Requests (Optional)","Description"]

{"sheet":"Ref Docs","index":3,"n_rows":10,"n_cols":2,"rows_kept":10,"cut":false,"hidden":true,"merged":[[1,0,1,11],[9,1,9,11],[2,0,3,0],[2,1,3,11],[5,1,5,11],[6,1,6,11],[4,1,4,11]]}
[]
["Useful References"]
["Document Title ","Link/Reference"]
[]
["Applications and Queuing Policy (AQP)","https://www.westernpower.com.au/media/5094/appendix-2a-transitional-western-power-network-applications-and-queuing-policy.pdf"]
["Technical Rules","https://www.westernpower.com.au/media/2312/technical-rules-20161201.pdf"]
["Generator and Load Model Guidelines","https://www.westernpower.com.au/media/4738/generator-and-load-model-guidelines-20210125.pdf"]
["Guideline for Transmission Connections ","https://www.westernpower.com.au/media/3402/guideline-for-transmission-connections-to-western-power-grid-20190802.pdf"]
["Generator Performance Standards ","https://www.westernpower.com.au/industry/manuals-guides-standards/generator-performance-standards"]
["Wholesale Electricity Market Rules","https://www.wa.gov.au/organisation/energy-policy-wa/wholesale-electricity-market?destination=/group/8/nodes"]

{"sheet":"Ld Data","index":4,"n_rows":34,"n_cols":9,"rows_kept":34,"cut":false,"hidden":true,"merged":[[1,4,1,8],[1,0,1,3],[33,0,33,2],[4,1,4,3],[18,1,18,3],[10,1,10,3]]}
[]
["Load General Data",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","For all types of load"]
["-","Type of load eg controlled rectifiers or large motor drives","Text","S "]
["-","Rated capacity","MW, MVA","S"]
["-","Voltage level","kV","S"]
["-","Rated current","A","S"]
["-","Power factor range during normal operation","Text/Diagram","S"]
["-","For fluctuating loads"]
["-","Cyclic variation of active power over period","Graph MW/time","S"]
["-","Cyclic variation of reactive power over period","Grapgh MVAr/time","S"]
["-","Max rate of change of active power","MW/s","S"]
["-","Max rate of change of reactive power","MVAr/s","S"]
["-","Shortest repetitive time interval between fluctuations in active and reactive power reviewd anually","s","S"]
["-","Largest step change in active power","MW","S"]
["-","Largest step change in reactive power","MVAr ","S"]
["-","For commutating power electronic load"]
["-","No. of pulses","Text","S"]
["-","Max voltage notch","%","S"]
["-","Harmonic current distortion (up  to the 50th harmonic)","A or %","S"]
["-","Description of load composition (percentage of motor driven load, lighting, heating, etc) and any variation of composition with load level","Text","S,D"]
["-","Percentage of total load from static converters including VVVFs and VSDs","Text","S,D"]
["-","Average impedance between attachment point and major loads (per-unit 100 MVA base)","% on MVA base","S,D"]
["-","Description of earthing system","Text/Diagram","S,D"]
[null,"Single-line electrical diagram of the plant showing sequence impedances, transformers, generators, point of attachment to the network, capacitors, reactors, and main motors and other loads","Diagram","S,D"]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
[]
[]
["* See Technical Rules Attachment 3 for description of data catagories"]

{"sheet":"PS Data","index":5,"n_rows":22,"n_cols":9,"rows_kept":22,"cut":false,"hidden":true,"merged":[[1,0,1,3],[21,0,21,2],[1,4,1,8],[4,1,4,3],[8,1,8,3]]}
[]
["Power Station General Data",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Power Station Technical Data "]
["-","Connection point to Transmission system","Text, diagram","S,D"]
["-","Nominal voltage at connection point to Transmission system","kV","S "]
["-","Total Power Station Sent out Capacity","MW (sent out)","S,D,R2"]
["-","At connection point:"]
["-","Maximum 3 phase short circuit infeed calculated by method of AS 3851 (1991) (amendment 1-1992)","-","-"]
["-","Symmetrical","kA","S,D"]
["-","Asymmetrical","kA","D "]
["-","Minimum zero sequence impedance","(a+jb) ohms","D"]
["-","Minimum negative sequence impedance","(a+jb) ohms","D"]
[null,"Single-line electrical diagram of the plant showing sequence impedances, transformers, generators, point of attachment to the network, capacitors, reactors, and main motors and other loads","Diagram","S,D"]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
[]
[]
["* See Technical Rules Attachment 3 for description of data catagories"]

{"sheet":"CP Ld","index":6,"n_rows":36,"n_cols":3,"rows_kept":36,"cut":false,"hidden":true,"merged":[[1,0,1,2],[34,0,35,0],[20,0,28,0],[3,0,7,0],[3,1,4,1],[3,2,4,2],[8,0,10,0],[17,0,19,0],[11,0,16,0]]}
[]
["Connection Point information"]
["Category","Item","Date Submitted:"]
["Load  Location description","Address"]
[]
[null,"Description of purpose of load"]
[null,"Site-specific issues which may affect access to site or design, eg other construction onsite, mine site, environmental issues, soil conditions."]
[null,"New or Existing Connection Point?"]
["New connection point","Requested Contract Maximum Demand (CMD) - specify in MW"]
[null,"Power factor of load"]
[null,"Requested 'in service' date"]
["Modify an existing connection point","Connection Point National Market Identifier (NMI)"]
[null,"Connnection point address (if different from existing)"]
[null,"Current CMD -  specify in MW"]
[null,"Requested CMD - specify in MW"]
[null,"Power factor of load"]
[null,"Requested 'in service' date"]
["Permanently disconnect an existing connection point","Connection Point National Market Identifier (NMI)"]
[null,"Current CMD -  specify in MW"]
[null,"Requested 'disconnection' date"]
["Load pattern ","Forecast initial load (MW)  if different to requested CMD "]
[null,"Forecast initial annual consumption (kWh)"]
[null,"Forecast maximum annual consumption (kWh)"]
[null,"Description (including timing) of any staging of load increases"]
[null,"Potential future CMD increases beyond requested CMD - specify in MW"]
[null,"Description of daily operating pattern"]
[null,"Description of weekly operating pattern"]
[null,"Description of annual operating pattern (if there is a seasonal variation)"]
[null,"Expected life."]
[]
[]
[]
[]
[]
["Attachments","Filename of single-line electrical diagram & site layout of the proposed arrangement showing sequence impedances, transformers, generators, point of attachment to the network, capacitors, reactors, lockable disconnect devices and main motors and other loads. Please identify each component so that the plan can be cross referenced to the data provide on this form."]
[null,"Filename of unecnrypted PowerFactory computer model (if applicable)"]

{"sheet":"CP Ld&Gen","index":7,"n_rows":41,"n_cols":3,"rows_kept":41,"cut":false,"hidden":true,"merged":[[1,0,1,2],[39,0,40,0],[22,0,33,0],[3,0,7,0],[3,1,4,1],[3,2,4,2],[8,0,10,0],[11,0,17,0],[18,0,21,0]]}
[]
["Connection Point information"]
["Category","Item","Date Submitted:"]
["Load or Power Station Location description","Address"]
[]
[null,"Description of Power station or purpose of load"]
[null,"Site-specific issues which may affect access to site or design, eg other construction onsite, mine site, environmental issues, soil conditions."]
[null,"New or Existing Connection Point?"]
["New connection point","Requested Contract Maximum Demand (CMD)"]
[null,"Requested Declared Sent Out Capacity (DSOC) - specify in MW"]
[null,"Requested 'in service' date"]
["Modify an existing connection point","Connection Point National Market Identifier (NMI)"]
[null,"Connnection point address (if different from existing)"]
[null,"Current CMD - specify in MW"]
[null,"Requested CMD - specify in MW"]
[null,"Current DSOC - specify in MW"]
[null,"Requested DSOC - specify in MW"]
[null,"Requested 'in service' date"]
["Permanently disconnect an existing connection point","Connection Point National Market Identifier (NMI)"]
[null,"Current CMD - specify in MW"]
[null,"Current DSOC - specify in MW"]
[null,"Requested 'disconnection' date"]
["Generator Capability","Forecast initial load (MW)  if different to requested CMD"]
[null,"Forecast initial annual consumption (kWh)"]
[null,"Forecast maximum annual consumption (kWh)"]
[null,"Description (including timing) of any staging of load increases"]
[null,"Potential future CMD increases beyond requested CMD - specify in MW"]
[null,"Description of daily operating pattern"]
[null,"Description of weekly operating pattern"]
[null,"Description of annual operating pattern (if there is a seasonal variation)"]
[null,"Forecast annual energy generation (MWH)"]
[null,"Total capability if different to requested DSOC (MW)"]
[null,"Own black start capability? If so, provide details."]
[null,"Expected life."]
[]
[]
[]
[]
[]
["Attachments","Filename of single-line electrical diagram & site layout of the proposed arrangement showing sequence impedances, transformers, generators, point of attachment to the network, capacitors, reactors, lockable disconnect devices and main motors and other loads. Please identify each component so that the plan can be cross referenced to the data provide on this form."]
[null,"Filename of unecnrypted PowerFactory computer model (if applicable)"]

{"sheet":"CP Gen","index":8,"n_rows":29,"n_cols":3,"rows_kept":29,"cut":false,"hidden":true,"merged":[[10,0,14,0],[15,0,17,0],[27,0,28,0],[18,0,21,0],[1,0,1,1],[3,0,7,0],[3,1,4,1],[3,2,4,2],[8,0,9,0]]}
[]
["Connection Point information"]
["Category","Item","Date Submitted:"]
[" Power Station Location description","Address"]
[]
[null,"Description of Power station "]
[null,"Site-specific issues which may affect access to site or design, eg other construction onsite, environmental issues, soil conditions."]
[null,"New or Existing Connection Point?"]
["New Connection Point","Requested Declared Sent Out Capacity (DSOC) - specify in MW"]
[null,"Requested 'in service' date"]
["Modify an existing connection point","Connection Point National Market Identifier (NMI)"]
[null,"Connnection point address (if different from existing)"]
[null,"Current DSOC  - specify in MW"]
[null,"Requested DSOC  - specify in MW"]
[null,"Requested 'in service' date"]
["Permanently disconnect an existing connection point","Connection Point National Market Identifier (NMI)"]
[null,"Current DSOC  - specify in MW"]
[null,"Requested 'disconnection' date"]
["Generation Capability","Forecast annual energy generation (MWH)"]
[null,"Total capability if different to requested DSOC (MW)"]
[null,"Own black start capability? If so, provide details."]
[null,"Expected life."]
[]
[]
[]
[]
[]
["Attachments","Filename of single-line electrical diagram & site layout of the proposed arrangement showing sequence impedances, transformers, generators, point of attachment to the network, capacitors, reactors, lockable disconnect devices and main motors and other loads. Please identify each component so that the plan can be cross referenced to the data provide on this form."]
[null,"Filename of unecnrypted PowerFactory computer model (if applicable)"]

{"sheet":"Gen-Synch Dx","index":9,"n_rows":39,"n_cols":9,"rows_kept":39,"cut":false,"hidden":true,"merged":[[39,0,39,2],[31,1,31,2],[23,1,23,2],[1,4,1,8],[26,1,26,3],[30,1,30,3],[20,1,20,3],[1,0,1,3],[37,0,37,2]]}
[]
["30 kVA - 10 MW Synchronous Generator Data",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Indentifier(s)1","-","-"]
[null,"Make","Text","D "]
["-","Model","Text","D ",null,null,null,null,"-"]
["-","Method of connection to the network eg inverter, transformer, u/g cable","Text","D"]
["-","Method of operation (e.g. continuous parrallel, rapid bumpless, gradual bumpless)","Text","D"]
["-","Rated kVA","kVA","S,D, R1"]
["-","Nominal terminal voltage","kV","D"]
["-","Number of pole-pairs","Number","D"]
["-","Speed","rpm","D"]
["-","Rated kW (sent out)","kW (sent out)","S,D,R1"]
["-","Minimum load (ML)","kW (sent out)","D,R1"]
["-","Inertia constant (H) for generator only","kW-s/rated kVA","D,R1"]
["-","Inertia constant (H) for all rotating masses connected to the generator shaft (for example, generator, turbine, etc).  Include gearbox (if any)","kW-s/rated kVA","D,R1"]
["-","Short circuit ratio","ratio","D,R1"]
["-","Neutral earthing impedance","(a+jb)% on MVA base","D,R1"]
["-","Sequence impedances (saturated)"]
["-","Zero sequence impedance","(a+jb)% on MVA base","D,R1"]
["-","Negative sequence impedance","(a+jb)% on MVA base","D,R1"]
["-","Reactances (saturated)"]
["-","Direct axis transient reactance","% on MBASE","D,R1"]
["-","Direct axis sub-transient reactance","% on MBASE","D,R1"]
["-","Reactive capability (at machine terminals)"]
["-","Largest lagging (overexcited) reactive power at rated kW","kVAr export","S,D,R2"]
["-","Largest leading (underexcited) reactive power at rated kW","kVAr import","S,D,R2"]
["-","Lagging reactive short time capability at rated kW, terminal voltage and speed","kVAr for time","D,R1"]
["-","Attachments"]
["-","Capability chart (indicate effect of temperature and voltage)",null,"S,D,R1"]
["1. Where there is more than one generator, the identifier should be the same as used on the single line diagram."]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Gen-Ind Dx","index":10,"n_rows":31,"n_cols":9,"rows_kept":31,"cut":false,"hidden":true,"merged":[[0,0,0,3],[31,0,31,2],[23,1,23,2],[1,0,1,3],[1,4,1,8],[22,1,22,3],[18,1,18,3],[29,0,29,2]]}
[]
["30 kVA - 10 MW Induction Generator Data",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Indentifier(s)1","-","-"]
["-","Make","Text","D ",null,null,null,null,"-"]
["-","Model","Text","D "]
["-","Method of connection to the network eg inverter, transformer, u/g cable","Text","D"]
["-","Rated kVA","kVA","S,D,R1"]
["-","Rated kW (sent out)","kW (sent out)","S,D,R1"]
["-","Reactive consumption at rated kW","kVAR","S,D,R1"]
["-","Nominal terminal voltage","kV","D"]
["-","Synchronous speed","rpm","D"]
["-","Rated speed","rpm","D,R1"]
["-","Maximum speed","rpm","D,R1"]
["-","Rated frequency","Hz","D"]
["-","Single or (effectively) double cage machine","Text","D,R1"]
["-","Generator reactances (saturated)"]
["-","Transient reactance","% on MBASE","D,R1"]
["-","Subtransient reactance","% on MBASE","D,R1"]
["-","Control: network commutated or self commutated","Text","S,R1"]
["-","Attachments"]
["-","Curves showing torque, power factor, efficiency, stator current, kW output versus slip (+ and -).",null,"S,D,R1"]
["1. Where there is more than one generator, the identifier should be the same as used on the single line diagram."]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"WTG Dx","index":11,"n_rows":27,"n_cols":9,"rows_kept":27,"cut":false,"hidden":true,"merged":[[1,4,1,8],[9,1,9,3],[19,1,19,2],[14,1,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[1,0,1,3],[27,0,27,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[25,0,25,2]]}
[]
["30 kVA - 10 MW Wind Turbine Data",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Indentifier(s)1","-","-"]
["-","Flicker factors in accordance with IEC61400-21","Text or Diagram","S,D,R2",null,null,null,null,"-"]
["-","Annual average wind speed","m/s","S"]
["-","Harmonics current spectra","Text or Diagram","S,D,R2"]
["-","Attachments"]
["-","A typical 24 hour power curve measured at 15-minute intervals or better if available ",null,"S,D,R2"]
["-","Startup profile kW,kVAr vs time for individual wind turbine",null,"S,D,R2"]
["-","Startup profile kW, kVAr vs time for wind farm total",null,"S,D,R2"]
["-","kW,kVAr vs time profiles for individual wind turbine under normal ramp up and ramp down conditions.",null,"S,D,R2"]
["-","High wind shutdown profile kW, kVAr vs time for individual wind turbine",null,"S,D,R2"]
["-","High wind shutdown profile kW, kVAr vs time for wind farm total",null,"S,D,R2"]
["-","Low wind shutdown profile kW,kVAr vs time for individual wind turbine",null,"S,D,R2"]
["-","Low wind shutdown profile kW, kVAr vs time for  wind farm total",null,"S,D,R2"]
[null,"Power curve kW vs windspeed",null,"S,D,R2"]
["-","Spatial arrangement of wind farm",null,"S,D,R1"]
[]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Inverter Dx","index":12,"n_rows":24,"n_cols":9,"rows_kept":24,"cut":false,"hidden":true,"merged":[[1,0,1,3],[11,1,11,3],[1,4,1,8],[24,0,24,2],[16,1,16,3],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[22,0,22,2]]}
[]
[" Inverter-connected Generators -Distribution",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Indentifier(s)1","-","-"]
["-","Make","Text","D "]
["-","Model","Text","D",null,null,null,null,"-"]
["-","Maximum kVA output over a 60 s interval","kVA","S,D,R1"]
["-","Maximum fault current contribution","kA rms symmetrical","S,D,R1"]
["-","Control modes (voltage, power factor)","Text","S,D,R1"]
["-","Attachments"]
["-","Reactive capability curve",null,"S,D,R1"]
["-","Long-term flicker factor for generator1",null,"S,D,R2"]
["-","Long term flicker factor for windfarm 1",null,"S,D,R2"]
["-","Harmonics current spectra1",null,"S,D,R2"]
["-","Note 1: In accordance with IEC 61400-21"]
[]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Protection Dx template","index":13,"n_rows":27,"n_cols":9,"rows_kept":27,"cut":false,"hidden":true,"merged":[[1,4,1,8],[9,1,9,3],[1,0,1,3],[20,1,21,2],[19,1,19,2],[20,3,21,3],[20,0,21,0],[29,0,29,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[15,1,15,3],[22,0,22,2]]}
[]
["30 kVA - 10 MW Protection Data",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Integrated with the controller or stand alone protection relays?","Text","S"]
["-","Does the system comply with IEC60255?","Yes/No","S"]
["-","If no, what standard does the system comply with?","Text","S"]
["-","Compliant with clause 3.6.10 of the Technical Rules?","Text","S"]
["-","List of protection functions","Text","S"]
["-","Network protection"]
["-","Integrated with the controller or stand alone protection relays?","Text","S"]
["-","Does the system comply with IEC60255?","Yes/No","S"]
["-","If no, what standard does the system comply with?","Text","S"]
["-","Compliant with clause 3.6.10 of the Technical Rules?","Text","S"]
["-","List of protection functions","Text","S"]
["-","Attachments required"]
["-","Earthing diagram",null,"S,D,R2"]
["-","Details of generator maximum kVA output over 60 second interval",null,"S,D,R2"]
["-","A typical 24 hour load power curve measured at 15 minute intervals or less",null,"S,D,R2"]
["-","Calculation of expected maximum symmetrical 3 phase fault current contribution to the network",null,"S,D"]
["-","Where required by Western Power, aggregate data required for performing stability studies in accordance with clauses 3.2.16 & 3.3.3 of the Technical Rules and results of preliminary studies (if any have been done previously by Western Power)",null,"D "]
[]
["* See Technical Rules Attachment 3 for description of data catagories"]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]

{"sheet":"Cable","index":14,"n_rows":16,"n_cols":9,"rows_kept":16,"cut":false,"hidden":true,"merged":[[1,0,1,3],[1,4,1,8],[9,0,9,2]]}
[]
["Internal power reticulation impedance**",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Operating voltage","kV","S,D"]
["-","Positive sequence impedance ","(a+jb)% on 100 MVA base","S,D"]
["-","Negative sequence impedance","(a+jb)% on 100 MVA base","S,D"]
["-","Zero sequence impedance ","(a+jb)% on 100 MVA base","S,D"]
["-","Susceptance","(a+jb)% on 100 MVA base","S,D"]
["* See Technical Rules Attachment 3 for description of data catagories"]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
[]
["** For wind/solar farms (and grouped embedded generators) equivalent impedance of the aggregated model should be provided. Detailed information for each invidual cable is generally not required."]

{"sheet":"Transmission Line","index":15,"n_rows":46,"n_cols":29,"rows_kept":46,"cut":false,"hidden":true,"merged":[[1,0,1,23],[1,24,1,28],[41,0,41,6],[2,1,2,2],[2,8,2,13],[2,3,2,5],[2,14,2,16],[2,17,2,22]]}
[]
["Transmission line between facility and Point of Connection",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Date submitted:"]
["Symbol","\nSection number Nodes/Structures",null,"Circuit details",null,null,"Line/ Cable","Section length\n(Km)","Self impedance (% on 100 MVA base)",null,null,null,null,null,"Mutual coupling",null,null,"Mutual Coupling impedance (% on 100 MVA base)",null,null,null,null,null,"Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
[null,"From","To","Cicuit number","Section number","KV",null,null,"R1(%)","X1(%)","B1(%)","R0(%)","X0(%)","B0(%)","Cicuit number","Section number","Seperation\n(m)","RM1(%)","XM1(%)","BM1(%)","RM0(%)","XM0(%)","BM0(%)"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["-",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S,D"]
["* See Technical Rules Attachment 3 for description of data catagories"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"S"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"D"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"R1"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"R2"]

{"sheet":"Settings","index":16,"n_rows":24,"n_cols":9,"rows_kept":24,"cut":false,"hidden":true,"merged":[[1,0,1,3],[1,4,1,8],[19,0,19,2],[8,1,8,3],[13,1,13,3]]}
[]
["Controller name (e.g. excitation system, governor, etc)",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["K","Example only","p.u.","D,R1,R2",20,"S","...","...","..."]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
["-","INSERT ROWS WITH LABELS OF EACH CONTROL SYSTEM FUNCTION (e.g. UEL, OEL)"]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
["-","INSERT ROWS WITH LABELS OF EACH CONTROL SYSTEM FUNCTION (e.g. UEL, OEL)"]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
[null,null,null,"D,R1,R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]

{"sheet":"Inverter","index":17,"n_rows":25,"n_cols":9,"rows_kept":25,"cut":false,"hidden":true,"merged":[[1,0,1,3],[24,0,24,2],[11,1,11,3],[1,4,1,8],[23,0,23,2]]}
[]
["Generators - inverter-connected",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Make","Text","D "]
["-","Model","Text","D"]
["-","Maximum kVA output over a 60 s interval","kVA","S,D,R1"]
["-","Maximum fault contribution  ","KA rms symmetrical","S,D,R1"]
["-","Control modes (voltage, power factor)","Text","S,D,R1"]
["-","Attachments"]
["-","Reactive capability curve","Graphical data","S,D,R1"]
["-","Long-term flicker factor for generator","-","S,D,R2"]
["-","Long term flicker factor for windfarm ","-","S,D,R2"]
["-","Harmonics current spectra (up to 50th harmonic)","A","S,D,R2"]
["-","Dynamic computer model of inverter  with short circuit contribution and harmonic currents contribution.","-","D"]
["1. Where there is more than one generator, the identifier should be the same as used on the single line diagram."]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
[]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Recip Engines","index":18,"n_rows":25,"n_cols":9,"rows_kept":25,"cut":false,"hidden":true,"merged":[[1,0,1,3],[25,0,25,2],[11,1,11,3],[1,4,1,8],[23,0,23,2],[24,0,24,2]]}
[]
["Prime movers - reciprocating engines",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Make","-","-"]
["-","Model","-","-"]
["-","Number of cylinders","Number","-"]
["-","Turbocharger characteristics","Text","-"]
["-","Fuel type (gas, liquid)","Text","S,D"]
["-","Attachments"]
["-","Base load MW vs ambient air temperature","Diagram","D "]
["-","Peak load MW vs ambient air temperature","Diagram","D"]
["-","Turbine frequency tolerance capability curve","Diagram","D"]
["-","MW output versus turbine speed (47-52 Hz)","Diagram","D,R1,R2"]
["-","Block diagram of the dynamic model of the engine/generator","Diagram","D,R1,R2"]
["-","Dynamic model of turbine/generator shaft system in lumped element form showing component inertias, damping and shaft stiffness ","Diagram","D"]
[]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Combined Cycle","index":19,"n_rows":34,"n_cols":9,"rows_kept":34,"cut":false,"hidden":true,"merged":[[1,0,1,3],[34,0,34,2],[18,1,18,3],[1,4,1,8],[15,1,15,3],[32,0,32,2],[33,0,33,2]]}
[]
["Prime movers - combined cycle units",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Make","Text","-"]
["-","Model","Text","-"]
["HRSG","Waste heat recovery boiler time constant (where applicable, eg for cogeneration plant)","Seconds","D "]
["-","Type of turbine (heavy industrial, aero derivative etc)","Text, diagram","S "]
["-","Number of shafts","Number","S,D"]
["-","Gearbox ratio","Number","D"]
["-","Fuel type (gas, liquid)","Text","S,D"]
["-","Rated exhaust temperature","ºC","S,D"]
["-","Controlled exhaust temperature","ºC","S,D,R1"]
["-","Natural damping of shaft torsional oscillation modes (for each mode)"]
["-","Modal frequency","Hz","D"]
["-","Logarithmic decrement","Nepers/s","D"]
["-","Attachments"]
["-","MW output versus turbine speed (47-52 Hz)","Diagram","D,R1,R2"]
["-","Base load MW vs ambient air temperature","Diagram","D"]
["-","Peak load MW vs ambient air temperature","Diagram","D"]
["-","Turbine frequency tolerance capability","Diagram","D"]
["-","Turbine compressor surge map","Diagram","D"]
["-","Turbine frequency tolerance curve","Diagram","S,D,R1"]
["-","Block diagram of the dynamic model of the turbine/generator.","Diagram","D,R1,R2"]
["-","Dynamic model of turbine/generator shaft system in lumped element form showing component inertias, damping and shaft stiffness","Diagram","D"]
[]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"WTG","index":20,"n_rows":32,"n_cols":9,"rows_kept":32,"cut":false,"hidden":true,"merged":[[1,0,1,3],[32,0,32,2],[11,1,11,3],[1,4,1,8],[25,0,25,2],[31,0,31,2]]}
[]
["Prime movers - wind turbine/wind farm",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Flicker factors in accordance with IEC61400-21","Text / Diagram","-"]
["-","Long term flicker factor for generating unit","-","S,D,R1"]
["-","Long term flicker factor for wind farm","-","S,D,R1"]
["-","Annual Average wind speed","m/s"]
["-","Harmonics current spectra","A","S,D,R1"]
["-","Attachments"]
["-","A typical 24 hour power curve measured at 15-minute intervals or better if available ","Diagram","S,D,R1"]
["-","Startup profile MW, MVAr vs time for individual wind turbine","Diagram","D"]
["-","Startup profile MW, MVAr vs time for wind farm total","Diagram","D"]
["-","MW, MVAr vs time profiles for individual wind turbine under normal ramp up and ramp down conditions.","Diagram","D"]
["-","High wind shutdown profile MW, MVAr vs time for individual wind turbine","Diagram","D"]
["-","High wind shutdown profile MW, MVAr vs time for wind farm total","Diagram","D"]
["-","Low wind shutdown profile MW, MVAr vs time for individual wind turbine","Diagram","D"]
["-","Low wind shutdown profile MW, MVAr vs time for  wind farm total","Diagram","D"]
["-","Power curve MW vs windspeed","Diagram","D "]
["-","Spatial arrangement of windfarm","Diagram","D "]
["-","Block diagram of the dynamic model of the turbine/generator for each wind turbine.","Diagram","D,R1,R2"]
["-","Dynamic model of turbine/generator shaft system in lumped element form showing component inertias, damping and shaft stiffness ","Diagram","D"]
["-","Maximum kVA output over a 60 second interval","kVA","S,D,R1"]
["* See Technical Rules Attachment 3 for description of data catagories"]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
[]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Hydro","index":21,"n_rows":38,"n_cols":9,"rows_kept":38,"cut":false,"hidden":true,"merged":[[1,4,1,8],[9,1,9,3],[1,0,1,3],[38,0,38,2],[8,1,8,3],[12,1,12,3],[23,1,23,3],[26,1,26,3],[36,0,36,2],[37,0,37,2]]}
[]
["Prime movers - hydroelectric turbine",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Make","-","-"]
["-","Model","-","-"]
["-","Mechanical shaft model"]
["-","Natural damping of shaft torsional oscillation modes (for each mode)"]
["-","Modal frequency","Hz","D"]
["-","Logarithmic decrement","Nepers/s","D"]
[null,"Flow model"]
["-","Water time constant","s","-"]
["-","Maximum gate opening rate","pu/s","-"]
["-","Maximum gate closing rate","pu/s","-"]
["-","Maximum head","m","-"]
["-","Minimum head","m","-"]
["-","Centreline length of penstock","m","-"]
["-","Penstock cross-sectional area","m2","-"]
["-","Flow rate at maximum loading","m3s-1","-"]
["-","No load flow rate","m3s-2","-"]
["-","Flow rate at maximum loading","m3s-1","-"]
["-","Motor model"]
["-","Max startup power","MW","-"]
["-","Max running power","MW","-"]
["-","Attachments"]
["-","Turbine frequency tolerance curve","-","-"]
["-","Motor starting current curve","-","-"]
["-","Block diagram of the dynamic model of the turbine/generator. The model should adequately represent the performance of the unit from no load to full load over the frequency range of 47 Hz to 52.5 Hz.","-","-"]
["-","Dynamic model of turbine/generator shaft system in lumped element form showing component inertias, damping and shaft stiffness ","-","-"]
[]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"GT","index":22,"n_rows":33,"n_cols":9,"rows_kept":33,"cut":false,"hidden":true,"merged":[[1,0,1,3],[33,0,33,2],[18,1,18,3],[1,4,1,8],[31,0,31,2],[32,0,32,2]]}
[]
["Prime movers - gas turbines",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Type of turbine (heavy industrial, aero derivative etc)","Text, diagram","S "]
["-","Number of Unit(s)","Number","-"]
["-","Make","-","-"]
["-","Model","-","-"]
["-","Number of shafts","-","S,D"]
["-","Gearbox ratio","-","D "]
["-","Fuel type (gas, liquid)","Text","S,D"]
["-","Rated exhaust temperature","ºC","S,D"]
["-","Controlled exhaust temperature","ºC","S,D,R1"]
["-","Natural damping of shaft torsional oscillation modes (for each mode)"]
["-","Modal frequency","Hz","D"]
["-","Logarithmic decrement","Nepers/s","D"]
[null,"Attachments"]
["-","Base load MW vs ambient air temperature","Diagram","D"]
["-","Peak load MW vs ambient air temperature","Diagram","D"]
["-","Turbine compressor surge map","Diagram","D"]
["-","Turbine frequency tolerance capability curve","Diagram","D"]
["-","MW output versus turbine speed (47-52 Hz)","Diagram","D,R1,R2"]
["-","Block diagram in IEEE format of the dynamic model of the turbine/generator.","Diagram","D,R1,R2"]
["-","Dynamic model of turbine/generator shaft system in lumped element form showing component inertias, damping and shaft stiffness ","Diagram","D"]
[]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"ST","index":23,"n_rows":35,"n_cols":9,"rows_kept":35,"cut":false,"hidden":true,"merged":[[1,4,1,8],[9,1,9,3],[13,1,13,3],[1,0,1,3],[35,0,35,2],[8,1,8,3],[12,1,12,3],[18,1,18,3],[24,1,24,3],[33,0,33,2],[34,0,34,2]]}
[]
["Prime movers - multiple stage steam turbines",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Make","Text","-"]
["-","Model","Text","-"]
["-","Mechanical shaft model"]
["-","Natural damping of shaft torsional oscillation modes (for each mode)"]
["-","Modal frequency","Hz","D "]
["-","Logarithmic decrement","Nepers/s","D"]
[null,"Steam Turbine Data"]
["-","Fraction of power produced by each stage"]
["-","KHP","Per unit of Pmax","D"]
["-","KIP","Per unit of Pmax","D"]
["-","KLP1","Per unit of Pmax","D"]
["-","KLP2","Per unit of Pmax","D"]
["-","Stage and Reheat Time Constants"]
["-","THP","Seconds","D"]
["-","TRH","Seconds","D"]
["-","TIP","Seconds","D"]
["-","TLP1","Seconds","D"]
["-","TLP2","Seconds","D"]
["-","Attachments"]
["-","Turbine frequency tolerance curve",null,"S,D,R1"]
["-","Block diagram of the dynamic model of the turbine/generator.","Diagram","D,R1,R2"]
["-","Dynamic model of turbine/generator shaft system in lumped element form showing component inertias, damping and shaft stiffness ","Diagram","D"]
[]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Governor","index":24,"n_rows":30,"n_cols":9,"rows_kept":30,"cut":false,"hidden":true,"merged":[[1,0,1,3],[30,0,30,2],[16,1,16,3],[21,1,21,3],[1,4,1,8],[28,0,28,2],[29,0,29,2]]}
[]
["Governors (All prime movers including wind)",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Make","-","-"]
["-","Model","-","-"]
["-","General description of load/speed control system (including block diagram transfer function & parameters)","Text, Diagram","S,D"]
["-","Maximum droop","%","S,D,R1"]
["-","Normal droop","%","D,R1"]
["-","Minimum droop","%","D,R1"]
["-","Maximum frequency deadband","Hz","D,R1"]
["-","Normal frequency deadband","Hz","D,R1"]
["-","Minimum frequency deadband","Hz","D,R1"]
["-","MW deadband","MW","D,R1"]
[null,"Frequence response capability"]
["-","Sustained response to frequency change","MW/Hz","D,R2"]
["-","Non-sustained response to frequency change","MW/Hz","D,R2"]
["-","Load rejection capability","MW","S,D,R2"]
["-","Active Power Ramp Rate","MW/Min","D,R1,R2"]
[null,"Attachments"]
["-","General description of turbine control system (including block diagram transfer function & parameters).","Text, Diagram","S,D"]
[]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Exc_plain","index":25,"n_rows":20,"n_cols":9,"rows_kept":20,"cut":false,"hidden":true,"merged":[[1,0,1,3],[20,0,20,2],[11,1,11,3],[1,4,1,8],[13,0,13,2],[19,0,19,2]]}
[]
["Exciters - Plain induction - reactive compensation",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Reactive consumption at PMAX","Mvar import","S,D,R1"]
["-","Number of capacitor banks and MVAr size at rated voltage for each capacitor bank (if used)","Text","S "]
["-","Control philosophy used for VAr/voltage control.","Text","S "]
["-","Voltage rise time (time from zero to maximum output while under voltage control)","-","-"]
["-","Sensitivity (output for a 0.5% voltage error)","-","-"]
[null,"Attachments"]
["-","Block diagram of the dynamic model of the voltage controls.","Diagram","D,R1,R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
[]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Exc_Sync","index":26,"n_rows":34,"n_cols":9,"rows_kept":34,"cut":false,"hidden":true,"merged":[[1,0,1,3],[34,0,34,2],[23,1,23,3],[1,4,1,8],[32,0,32,2],[33,0,33,2]]}
[]
["Exciters - Synchronous - double fed induction",null,null,null,"Date submitted :"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Make","-","-"]
["-","Model","-","-"]
["-","Type (static or rotating)","-","-"]
["-","Excitation source (main machine or independent)","-","-"]
["-","General description of excitation control system (including block diagram transfer function & parameters)","Text, diagram","S,D"]
["-","Rated field voltage at rated MVA and power factor and rated terminal volts and speed","V","S,D,R1"]
["-","Maximum field voltage","V","S,D,R1"]
["-","Minimum field voltage","V","D,R1"]
["-","Maximum rate of change of field voltage","Rising V/s","D,R1"]
["-","Maximum rate of change of field voltage","Fallling V/s","D,R1"]
["-","Dynamic characteristics of overexcitation limiter (drawn on capability generating unit diagram)","Text/Block diagram","D,R2"]
["-","Dynamic characteristics of under excitation limiter  (drawn on capability generator diagram)","Text/Block diagram","D,R2"]
["-","Load drop compensation / VAr sharing controls","Text, function","D"]
["-","V/f limiting controls","Text, function","D"]
["-","Field Voltage rise time (synchronous generators)","Second","-"]
["-","Voltage rise time (time from zero to maximum VAr output while under voltage control)","Second","-"]
["-","Sensitivity (output for a 0.5% voltage error)","Gain","-"]
["-","Attachments"]
["-","Generating unit and exciter saturation characteristics (at least 50 - 120% V)","Diagram","D,R1"]
["-","Block diagram of the dynamic model of the exciter/AVR.","Text, diagram","D,R1,R2"]
["-","Manual restrictive limiter","-","D"]
[]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Gen-Synch","index":27,"n_rows":74,"n_cols":9,"rows_kept":74,"cut":false,"hidden":true,"merged":[[1,4,1,8],[36,1,36,3],[1,0,1,3],[74,0,74,2],[47,1,47,3],[54,1,54,3],[60,1,60,3],[30,1,30,3],[27,1,27,3],[72,0,72,2],[73,0,73,2]]}
[]
["Synchronous Machine",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["-","Make","-","-"]
["-","Model","-","-"]
["-","Rotor type (eg salient pole, round rotor)","Text","S,D"]
["MBASE","Rated MVA","MVA","S,D,R1"]
["PSO","Rated MW sent out","MW (sent out)","S,D,R1"]
["PMAX","Rated MW generated (PMAX)","MW (Gen)","D "]
["VT","Nominal terminal voltage","kV","D,R1"]
["PAUX","Auxiliary load at PMAX ","MW","S,D,R2"]
["QMAX","Rated reactive Output at PMAX","Mvar (sent out)","S,D,R1"]
["-","Number of pole-pairs","Number"]
["-","Speed","rpm"]
["PMIN","Minimum load (ML)","MW (sent out)","S,D,R2"]
["H","Inertia constant (H) for all rotating masses connected to the generator shaft (for example, generator, turbine, etc).  Include gearbox (if any)","MW.s/rated MVA","S,D,R1"]
["Hg","Generator inertia constant (Hg) (applicable to synchronous condenser mode of operation)","MW.s/rated MVA","S,D,R1"]
["-","Total inertia for all rotating masses (MR2)","kg.m2","-"]
["GSCR","Short circuit ratio","Number","D,R1"]
["ISTATOR","Rated stator current","A","D,R1"]
["IROTOR","Rated rotor current at rated MVA and power factor, rated terminal volts and rated speed","A","D,R1"]
["VROTOR","Rotor voltage at which IROTOR is achieved","V","D,R1"]
["VCEIL","Rotor voltage capable of being supplied for five seconds at rated speed during field forcing","V","D,R1"]
["ZN","Neutral earthing impedance","(a+jb)% on MVA base"]
["-","Generating Unit Resistance:"]
["RA","Stator resistance","% on MVA base","S,D,R1,R2"]
["RF","Rotor resistance at 20°C","ohms","D,R1"]
["-","Generating unit sequence impedances (saturated)"]
["Z0","Zero sequence impedance","(a+jb)% on MVA base","D,R1"]
["Z2","Negative sequence impedance","(a+jb)% on MVA base","D,R1"]
[null,"Generating unit reactances (saturated)"]
["X'D(sat)","Direct axis transient reactance","% on MVA base","D,R1"]
["XD\"(sat)","Direct axis sub-transient reactance","% on MVA base","D,R1"]
["-","Generating unit reactances (unsaturated)"]
["XD ","Direct axis synchronous reactance","% on MVA base","S,D,R1,R2"]
["XD'","Direct axis transient reactance","% on MVA base","S,D,R1,R2"]
["XD\" ","Direct axis sub-transient reactance","% on MVA base","S,D,R1,R2"]
["XQ","Quadrature axis synch reactance","% on MVA base","D,R1,R2"]
["XQ'","Quadrature axis transient reactance","% on MVA base","D,R1,R2"]
["XQ\"","Quadrature axis sub-transient reactance","% on MVA base","D,R1,R2"]
["XL","Stator leakage reactance","% on MVA base","D,R1,R2"]
["X0","Zero sequence reactance","% on MVA base","D,R1"]
["X2","Negative sequence reactance","% on MVA base","D,R1"]
["XP","Potier reactance","% on MVA base","D,R1"]
["-","Generating unit time constants (unsaturated)"]
["TDO'","Direct axis open circuit transient","seconds","S,D,R1,R2"]
["TDO\"","Direct axis open circuit sub-transient","seconds","S,D,R1,R2"]
["TKD","Direct axis damper leakage","seconds","D,R1,R2"]
["TQO'","Quadrature axis open circuit transient","seconds","D,R1,R2"]
["TA","Armature time constant","seconds","D,R1,R2"]
["TQO\"","Quadrature axis open circuit sub-transient","seconds","D,R1,R2"]
["-","Generating unit reactive capability (at machine terminals)"]
["-","Lagging  reactive power at PMAX","Mvar export","S,D,R2"]
["-","Leading  reactive power at PMAX","Mvar import","S,D,R2",null,null,null,null,"-"]
["-","Lagging reactive power at ML","Mvar export","D,R1,R2"]
["-","Lagging reactive short time capability at rated MW, terminal voltage and speed","Mvar (for time)","D,R1,R2"]
["-","Leading reactive power at rated MW","Mvar import","S,D,R2"]
["-","Generating unit charts"]
["GCD","Capability chart (indicate effect of temperature and voltage)","Graphical Data","R1"]
["GOCC","Open circuit characteristic chart","Graphical Data","R1"]
["GSCC","Short circuit characteristic chart","Graphical Data","R1"]
["GZPC","Zero power factor curve chart","Graphical Data","R1"]
["-","V curves","Graphical Data","R1"]
["GOTC","MW, MVAr outputs vs temperature chart","Graphical Data","D,R1,R2"]
["1. Where there is more than one generator, the identifier should be the same as used on the single line diagram."]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Protection Settings","index":28,"n_rows":29,"n_cols":9,"rows_kept":29,"cut":false,"hidden":true,"merged":[[1,4,1,8],[1,0,1,3],[31,0,31,2],[4,1,4,3],[16,1,16,3],[18,1,18,3],[24,0,24,2]]}
[]
["Large Generating unit setting data",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Settings of the following protections:"]
["-","Loss of field","Text","D "]
["-","Under excitation","Text, diagram","D "]
["-","Over excitation","Text, diagram","D "]
["-","Differential","Text","D "]
["-","Under frequency","Text","D "]
["-","Over frequency","Text","D "]
["-","Negative sequence component","Text","D "]
["-","Stator overvoltage","Text","D "]
["-","Stator overcurrent","Text","D "]
["-","Rotor overcurrent","Text","D "]
["-","Reverse power","Text","D "]
["-","Control Data:"]
["-","Details of the excitation control system incorporating, where applicable, individual elements for power system stabiliser, under excitation limiter and over excitation limiter described in block diagram form showing transfer functions of individual elements, parameters and measurements units (preferably in IEEE format, but suitable for use in the software package nominated by the Network Service provider. Currently, that package is DigSilent).The source code of the model must also be provided, in accordance with clause 3.3.8. ","Text, diagram","D ,R1,R2"]
["-","Settings of the following controls:"]
["-","Details of the turbine control system described in block diagram form showing transfer functions of individual elements and  measurement units (preferably in IEEE format, but suitable for use in the software package nominated by the Network Service Provider. Currently, that package is DigSilent).The source code of the model must also be provided, in accordance with clause 3.3.8. ","Text, diagram","D ,R1,R2"]
["-","Stator current limiter (if fitted)","Text, diagram","D "]
["-","Manual restrictive limiter (if fitted)","Text ","D "]
["-","Load drop compensation/Var sharing (if fitted)","Text, function","D "]
["-","V/f limiter (if fitted)","Text, diagram","D "]
["* See Technical Rules Attachment 3 for description of data catagories"]
[null,"Manual restrictive limiter (if fitted)",null,null,null,"S"]
[null,"Load drop compensation/Var sharing (if fitted)",null,null,null,"D"]
[null,"V/f limiter (if fitted)",null,null,null,"R1"]
[null,null,null,null,null,"R2"]

{"sheet":"Protection","index":29,"n_rows":50,"n_cols":9,"rows_kept":50,"cut":false,"hidden":true,"merged":[[5,0,12,0],[21,7,27,7],[21,8,27,8],[4,13,12,13],[1,0,1,3],[4,2,12,2],[4,3,12,3],[4,4,12,4],[4,5,12,5],[4,6,12,6],[4,7,12,7],[4,8,12,8],[4,9,12,9],[4,10,12,10],[4,11,12,11],[4,12,12,12],[1,4,1,8],[21,4,27,4],[21,5,27,5],[21,6,27,6],[13,13,19,13],[13,7,19,7],[13,8,19,8],[13,9,19,9],[13,10,19,10],[13,11,19,11],[13,12,19,12],[21,13,27,13],[13,2,19,2],[13,3,19,3],[13,4,19,4],[13,5,19,5],[13,6,19,6],[52,0,52,2],[34,13,38,13],[39,2,44,2],[39,3,44,3],[39,4,44,4],[39,5,44,5],[39,6,44,6],[39,7,44,7],[39,8,44,8],[39,9,44,9],[34,7,38,7],[34,8,38,8],[34,0,38,0],[34,2,38,2],[34,3,38,3],[39,13,44,13],[31,13,33,13],[34,5,38,5],[34,6,38,6],[34,9,38,9],[34,10,38,10],[34,11,38,11],[34,12,38,12],[31,10,33,10],[31,11,33,11],[31,12,33,12],[31,5,33,5],[31,6,33,6],[31,7,33,7],[31,8,33,8],[31,9,33,9],[45,0,45,2],[21,9,27,9],[21,10,27,10],[21,11,27,11],[21,12,27,12],[39,10,44,10],[39,11,44,11],[39,12,44,12],[34,4,38,4],[31,0,33,0],[31,2,33,2],[31,3,33,3],[31,4,33,4],[21,0,27,0],[21,2,27,2],[21,3,27,3]]}
[]
["Electrical Plant Protection",null,null,null,"Date submitted:"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
[null,"Protection Design Philosophy","Attachment","D,R1,R2"]
["-","Documentation explaining the general protection philosophy, including:"]
[null,"- Present and design minimum and maximum fault levels"]
[null,"- Present and design minimum and maximum fault contributions to the network from the User, at the connection point"]
[null,"- Details of required critical fault clearance times, and which protections will be employed to meet these times"]
[null,"-Local Backup (circuit breaker fail) philosophy"]
[null,"-Special scheme philosophy (for example, islanding or load shedding schemes)."]
[null,"-Protection number 1 philosophy"]
[null,"-Protection number 2 philosophy"]
[null,"Power single line diagram, down to and including the low voltage (greater than 50V AC) bus(s), including:","Attachment","D,R1,R2"]
[null,"-Voltage levels"]
["-","-Transformer ratings, winding configurations and earthing connections"]
[null,"-Plant ratings and earthing connections"]
[null,"-Operating status of switiching devices"]
[null,"-Earthing configuration"]
[null,"-Primary plant interlocks"]
["-","-Details of protection interfaces between the network and the User","Text","D,R1,R2"]
["-","Protection single line diagram, down to and including the low voltage (greater\nthan 50V AC) bus(s), including: ","Attachment","R1,R2"]
[null,"-Current transformer locations, rated primary and secondary current, rated short-time thermal current, rated output, accuracy class and designation."]
[null,"-Voltage Transformer locations, winding connections, rated primary and secondary voltages, rated output and accuracy class."]
[null,"-Relay make and model number."]
[null,"-Relay functions employed."]
[null,"-Primary plant mechanical protections."]
[null,"-Trip details (diagramatic or by trip matrix)."]
["-","Impedance diagram of the system, showing, for each item of primary plant,\ndetails of the positive, negative and zero sequence series and shunt\nimpedances, including mutual coupling between physically adjacent elements.\nImpedances to be in per unit, referred to a 100MVA base. \nFinal submission (R2) to include tested values of generator and transformer impedances (for example, from manufacturer’s test certificates). ","Attachment","R1,R2"]
["-","Tripping and control power supply (eg DC system) single line diagram","Attachment","R1, R2"]
["-","Power flow details at point of connection as per the data requested in Attachment 5. ","Text","R1, R2"]
["-","HV circuit breaker details, including:","Text/attachment","R1,R2"]
[null,"-A control and protection schematic diagram of the circuit breaker(s) at the User connection to the network."]
[null,"-Type, rated current and rated fault MVA or rated breaking current of all HV circuit breakers "]
["-","HV switch fuse details, including:","-","R1,R2"]
[null,"- Rated current of fuse"]
[null,"- Rated breaking current of fuse"]
[null,"- Type of fuse"]
[null,"- Current-time characteristic curves"]
[null,"Protection Settings Design Philosophy","Attachment","R1,R2"]
[null,"-Documentation explaining the general protection philosophy."]
["-","-Calculated critical fault clearance times."]
[null,"-Protection function settings to be employed and reasons for selecting these settings. Diagrams to be submitted where applicable."]
[null,"-Overcurrent grading curves for phase faults."]
[null,"-Overcurrent grading curves for earth faults."]
["* See Technical Rules Attachment 3 for description of data catagories"]
[null,"Manual restrictive limiter (if fitted)",null,null,null,"S"]
[null,"Load drop compensation/Var sharing (if fitted)",null,null,null,"D"]
[null,"V/f limiter (if fitted)",null,null,null,"R1"]
[null,null,null,null,null,"R2"]

{"sheet":"Transformer","index":30,"n_rows":29,"n_cols":9,"rows_kept":29,"cut":false,"hidden":true,"merged":[[1,0,1,3],[29,0,29,2],[1,4,1,8],[27,0,27,2],[28,0,28,2]]}
[]
["Transformer data",null,null,null,"Date submitted :"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Unit(s)","Number","-"]
["-","Identifier(s)1","-","-"]
["GTW","Number of windings","Number","S,D",null,null,null,null,"-"]
["GTRn","Rated MVA of each winding","MVA","S,D,R1"]
["GTTRn","Principal tap rated voltages","kV/kV","S,D,R1"]
["GTZ1n","Positive sequence impedances (each wdg)","(a+jb)% on 100 MVA base","S,D,R1"]
["GTZ2n","Negative sequence impedances (each wdg)","(a+jb)% on 100 MVA base","S,D,R1"]
["GTZOn","Zero sequence impedances (each wdg)","(a+jb)% on 100 MVA base","S,D,R1"]
["-","Tapped winding","Text or diagram","S,D,R1"]
["GTAPR","Tap change range","kV-kV","S,D"]
["GTAPS","Tap change step size","%","D"]
["-","Number of taps","Number","D"]
["-","Tap changer type, on/off load","On/Off","D"]
["-","Tap change cycle time","Seconds","D"]
["GTVG","Vector group","Text or diagram","S,D"]
["-","Method of earthing","Text or diagram","S,D"]
["-","Saturation Curve","Diagram","R1"]
["-","Transformer Test Report","Document","R1"]
["1. Where there is more than one generator, the identifier should be the same as used on the single line diagram."]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["1. Where there is more than one, the identifier(s) should be included, and align with the single line diagram."]

{"sheet":"Ind Machine","index":31,"n_rows":58,"n_cols":9,"rows_kept":58,"cut":false,"hidden":true,"merged":[[1,0,1,3],[64,0,64,2],[1,4,1,8],[53,1,53,3],[42,1,42,3],[56,0,56,2],[17,1,17,3],[4,1,4,3]]}
[]
["Induction Machine data**",null,null,null,"Date submitted :"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Number of Machines between  1 MW and 5 MW"]
["-","Identifier(s)1","-","-"]
["-","Make","-","-"]
["-","Model","-","-"]
["-","Type","Squirrel cage, wound rotor, double fed","S,D"]
["-","Number of machines","Number","-"]
["-","Machine size","MW","D "]
["-","Machine loading","% of rating","S,D"]
["-","Number of starts","per day/hour/minute","S,D"]
["-","State hours of the day machine is operational (duty cycle)","Time range (8am-12pm & 3pm-6pm)","S,D"]
["-","Connection type (Directly, behind inveters, speed controllers, cycloconverters, other power electronic devices)","Text","S,D"]
["-","Starting device\n(DOL/soft starter/auto transformer/ variable speed/other","Text","S,D"]
["-","Under-voltage behaviour (eg deliberate undervoltage tripping (give settings), intrinsic undervoltage drop-out (eg standard contactors), remain connected (critical machines or machines on switches)","Text","S,D"]
["-","Number of Machines over 5 MW - for each type of machine"]
[null,"Identifier(s)1"]
["-","Make","Text"]
["-","Model","Text"]
["-","Type","Squirrel cage, wound rotor, double fed","S,D"]
["-","Number of machines","Number"]
["-","Machine size","MW","D "]
["-","Machine loading","% of rating","S,D"]
["-","Number of starts","per day/hour/minute","S,D"]
["-","State hours of the day machine is operational (duty cycle)","Time range (8am-12pm & 3pm-6pm)","S,D"]
["-","Connection type (Directly, behind inveters, speed controllers, cycloconverters, other power electronic devices)","Text","S,D"]
["-","Starting device\n(DOL/soft starter/auto transformer/ variable speed/other","Text","S,D"]
["-","Under-voltage behaviour (eg deliberate undervoltage tripping (give settings), intrinsic undervoltage drop-out (eg standard contactors), remain connected (critical machines or machines on switches)","Text","S,D"]
["MBASE","Rated MVA","MVA","S,D,R1"]
["-","Machine Loading MW","MW","SDR1"]
["PMAX","Rated MW","MW","D"]
["-","Nominal terminal voltage","kV","S,D,R1"]
["-","Synchronous speed","rpm","S,D,R1"]
["-","Rated speed","rpm","S,D,R1"]
["-","Maximum speed","rpm","S,D,R1"]
["-","Rated frequency","Hz","S,D,R1"]
["QMAX","Reactive consumption at PMAX","Mvar import","S,D,R1"]
["-","Number of capacitor banks used and MVAr size at rated voltage for each capacitor bank (if used)","Text","S"]
["-","Control Philosophy used for var/voltage control","Text","S"]
["H","Total mechanical inertia (machine plus driven load)","MW.sec/MVA","S,D,R1"]
[null,"Resistances and reactances"]
["Rs","Stator resistance","% on MVA base","D,R1"]
["Xs","Stator reactance","% on MVA base","D,R1"]
["Xm","Magnetising reactance","% on MVA base","D,R1"]
["Xrm","Rotor leakage reactance (for double squirrel cage only)","% on MVA base","-"]
["RrA","Rotor resistance","% on MVA base","D,R1"]
["XrA","Rotor reactance","% on MVA base","-"]
["RrB","Rotor resistance (for double squirrel cage only)","% on MVA base","D,R1"]
["XrB","Rotor reactance (for double squirrel cage only)","% on MVA base","D,R1"]
["IIr/In","Locked rotor current","-","-"]
["R/X","Locked Rotor R/X","-","-"]
["-","Attachments"]
["Rs","Stator resistance versus slip curve, or two extreme vales for zero (nominal) and unity (negative) slip","Graphical data or % on MBASE","D,R1"]
["-","Curves showing torque, power factor, efficiency, stator current, MW output versus slip (+ and -).","Graphical data","D,R1,R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]
["** For synchronous motor data requirements please contact Western Power"]

{"sheet":"HVDC","index":32,"n_rows":23,"n_cols":9,"rows_kept":23,"cut":false,"hidden":true,"merged":[[1,0,1,3],[1,4,1,8],[22,0,22,2],[24,0,24,2]]}
[]
["HVDC (draft)",null,null,null,"Date submitted :"]
["Symbol","Data Description","Unit","Data Category*","Value","Category","Reference documentation","Customer comments","Western Power comments"]
["-","Example only","Number","S,D",2,"S","Attachment 1 - SLD revision 1, page 2","-","-"]
["-","Import capability","MW, Mvar","D,R1,R2"]
["-","Export capability","MW, Mvar","D,R1,R2"]
["-","Cable size","mm2","D,R1,R2",null,null,null,null,"-"]
["-","Number of poles (monopole/bipole)","Number","D,R1,R2"]
["-","Number of cables (earth return)","Number","D,R1,R2"]
["-","AC voltage","kV","D,R1,R2"]
["-","DC voltage","kV","D,R1,R2"]
["-","Converters per station","Number","D,R1,R2"]
["-","Location, rating, voltage, and number of AC filters","Text","D,R1,R2"]
["-","Location, rating, voltage, and number of shunt capacitors","Text","D,R1,R2"]
["-","Location, rating, voltage, and number of smoothing reactors","Text","D,R1,R2"]
[null,"Location, rating, voltage, and number of DC filters","Text","D,R1,R2"]
["-","Block diagram of HVDC controller","Attachment","S,D"]
["1. Where there is more than one generator, the identifier should be the same as used on the single line diagram."]
[null,null,null,null,null,"S"]
[null,null,null,null,null,"D"]
[null,null,null,null,null,"R1"]
[null,null,null,null,null,"R2"]
["* See Technical Rules Attachment 3 for description of data catagories"]