## Technical
Question Number | Question | Answer
Technical
1 | Which of the following Hybrid Compact Switchgear does your organisation design, manufacture and deliver with a minimum service life of 40 years? 1. Item 1: 72.5kV, 25kA/3s, 1250A 2. Item 2: 145kV, up to 50kA/1s, up to 3150A 3. Item 3: 362kV, 50kA/1s, 3150A
2 | Has your switchgear been designed and tested to IEC62271-205?
3 | Are the following Hybrid Compact configurations offered? a. Single Line Diagrams shown here are the maximum requirement. Surge Arrestors and Voltage Transformers and HV cable connector are optional components based on project specific requirement. Can all these options be offered together?
4 | Can line/cable voltage presence indicators be provided (e.g. Capacitive voltage indiator)?
5 | Are mechanical indicators provided for a. Disconnector b. Circuit Breaker c. Fast acting Earth switch
6 | Are secondary plug-in arrangements offered onto the LCC?
7 | Is your organisation the OEM or the Agent/Distributor of an OEM of Circuit Breakers?
8 | Please advise the location of your manufacturing facilities both in Australia and Overseas.
9 | Please advise the location and range of services of your Australian based technical support and service centres?
10 | Does your organisation offer SF6-free Hybrid Compact Switchgear?
11 | Can your organisation offer above 362kV? If so, please specify.
12 | Is your organisation able to provide copies of type test certificates from an internationally accredited testing authority as required?
13 | Would the offered switchgear be transported fully assembled?
14 | Can the switchgear be installed by the customer?
15 | What are the current lead times?
16 | Does your organisation have an endorsed manufacturing facility with independent external accreditation confirming compliance with ISO9001?
17 | Does your organisation have a budget for circuit breaker R&D?
18 | Please demonstrate how your organisation integrates and customises customer requirements into your product design.
19 | Please provide a list of your current clients in Australia and internationally?
20 | Please provide examples of recent projects & value in the last five years.
21 | Please provide two referees of recent projects & contact details.